**Cubos de filtros presentes no Microscópio Digital – Scanner de Lâminas 3D HISTECH**

|  |  |  |
| --- | --- | --- |
| DAPI (blue) single band filter | HP-FLT-CZ4901 | Zeiss Filter Set 49 (excitation 365 nm, emission 445/50 nm) |
| FITC (green) single band filter | HP-FLT-CZ3801 | Zeiss Filter Set 38 (excitation 470/40 nm, emission 525/50 nm) |
| Rhodamine (red) single band filter | HP-FLT-CZ4301 | Zeiss Filter Set 43HE (excitation 550/25 nm, emission 605/70 nm) |